## Slide 1
Technical Applications & Proposals
PINNACLE OZONE SOLUTIONS
MJ Quessy
DIRECTOR OF OPERATIONAL EXCELLENCE & STRATEGIC EXECUTION

## Slide 2
Eliminate guesswork, avoid under‑ or over‑sizing, and make sure the proposal aligns with the client’s real needs.
The objective is simple:
Technical Applications & Proposals
PINNACLE OZONE SOLUTIONS
MJ Quessy
DIRECTOR OF OPERATIONAL EXCELLENCE & STRATEGIC EXECUTION
Project name
Type of facility
(Municipal, industrial, direct potable reuse, leachate, aquaculture, etc.)
Location
(Facility name, city, country)
Client contact person
(Name, email, phone)
Project timeline
(Project design stage, delivery date)
Project type
(New construction, retrofit, upgrade)

## Slide 3
1. Project Basics
Project name
Type of facility
(Municipal, industrial, direct potable reuse, leachate, aquaculture, etc.)
Location
(Facility name, city, country)
Client contact person
(Name, email, phone)
Project timeline
(Project design stage, delivery date)
Project type
(New construction, retrofit, upgrade)
TECHNICAL APPLICATIONS & PROPOSALS
Dosage
(PPM, mg/L)
Ozone production capacity
(ppd, kg/d, kg/h)
Design flow
(MGD, gpm, m3/d, m3/h)
Redundancy needed
(N+1)
Oxygen feed gas
(liquid oxygen LOX, PSA, VSA)

## Slide 4
Dosage
(PPM, mg/L)
Ozone production capacity
(ppd, kg/d, kg/h)
Design flow
(MGD, gpm, m3/d, m3/h)
Redundancy needed
(N+1)
Oxygen feed gas
(liquid oxygen LOX, PSA, VSA)
Inlet process pressure
(20 psig standard)
Ozone Concentration
(10%)
Mass transfer efficiency
(MTE: 93%)
Cooling water temperature
(50ºF , 10º C)
2. Design Conditions
TECHNICAL APPLICATIONS & PROPOSALS

## Slide 5
3. Standard Assumptions
Inlet process pressure
(20 psig standard)
Ozone Concentration
(10%)
Mass transfer efficiency
(MTE: 93%)
Cooling water temperature
(50ºF , 10º C)
TECHNICAL APPLICATIONS & PROPOSALS
GOX manifold
(filters and regulates oxygen feed to the ozone generator​)
Ozone generator
(Standard Schneider M251 PLC & RedLion 15-inch HMI)
Stepdown transformer
(480/575V -> 230v)
Air-cooled chiller​
Ozone Destruct
(1 per ozone generator)
Spare Parts
(Consumables only)
Standard instrumentation
(1) Ambient Ozone Monitor
(1) Ambient Oxygen Monitor
(1) Dissolved Ozone Panel
Master ozone control panel (MOCP)
(Schneider M251 PLC & RedLion 15’”HMI)
Delivery to site
Start-up & commissioning
(1 trip – 2 technicians – 5 days])

## Slide 6
4. Standard Scope
TECHNICAL APPLICATIONS & PROPOSALS
GOX manifold
(filters and regulates oxygen feed to the ozone generator​)
Ozone generator
(Standard Schneider M251 PLC & RedLion 15-inch HMI)
Stepdown transformer
(480/575V -> 230v)
Air-cooled chiller​
Ozone Destruct
(1 per ozone generator)
Spare Parts
(Consumables only)
Standard instrumentation
(1) Ambient Ozone Monitor
(1) Ambient Oxygen Monitor
(1) Dissolved Ozone Panel
Master ozone control panel (MOCP)
(Schneider M251 PLC & RedLion 15’”HMI)
Delivery to site
Start-up & commissioning
(1 trip – 2 technicians – 5 days])
Injection type
(side stream, diffusion, static mixer, OMTU nozzles)
Who?
(Pinnacle, Mazzei, Statiflo)
Sizing Requirements
(flow, dosage required and MTE)
Contactor dimensions
Mainline Diameter

## Slide 7
5. Ozone Injection
Injection type
(side stream, diffusion, static mixer, OMTU nozzles)
Who?
(Pinnacle, Mazzei, Statiflo)
Sizing Requirements
(flow, dosage required and MTE)
Contactor dimensions
TECHNICAL APPLICATIONS & PROPOSALS
Mainline Diameter
Who?
(Mechanical: 4-6 weeks after receipt of approved contract. Controls: 2-4 weeks after mechanical approval)
Delivery Lead-time
(18-22 weeks after approval)
Equipment Warranty
(12 months from final acceptance not exceeding 18 months from delivery)
Dielectric Warranty
([20 years from ship date])

## Slide 8
6. Lead-time &Warranties
Who?
(Mechanical: 4-6 weeks after receipt of approved contract. Controls: 2-4 weeks after mechanical approval)
Delivery Lead-time
(18-22 weeks after approval)
TECHNICAL APPLICATIONS & PROPOSALS
Equipment Warranty
(12 months from final acceptance not exceeding 18 months from delivery)
Dielectric Warranty
([20 years from ship date])
321-506-1850
www.pinnacleozone.com
Cocoa, Florida, USA
Thank You for Attending
We look forward to the journey ahead, where we can turn our shared vision into reality.

## Slide 9
Thank You for Attending
We look forward to the journey ahead, where we can turn our shared vision into reality.
321-506-1850
www.pinnacleozone.com
Cocoa, Florida, USA